## Sheet1
| Current | 2021 proposed changes
Pre application meeting | $100 (submittal fee)
New Building Core & Shell
1 - 15,000 sq. ft. | Incl remodel $500 | Increase to $750?
15,001 - 100,000 sq. ft. | $500 + $0.02/ft2 | Remove upper limit
Tenant Finish
0 - 1,500 sq ft | $0.05/ft2 ($50 min) | Greater than 1,000 sq ft only
Misc. Fees
Reinspection fee | 100
After Hours Inspection | $75/hour (2 hr min)
Misc. Inspection fee | $75/hour (2 hr min)
Commercial Plan reviews | Included in core/shell
Site plans
2nd review of above plans
Each review beyond 2nd |  | Add: $100/ea
Commercial Inspections |  | (not routine annual)
Scheduled Inspections | 150
Compliance Verification | 150
System test/Install | 150
Follow up inspections | 150
Initial Code Violations | 0
Starting work w/o permit | All fees doubled
Consultation | $0/hr
Outside agency support |  | Per schedule
Use/storage of explosives | 100
Fire Protection Equipment & Systems Inspection Fees
Sprinkler systems 13, 13R | $75 + $1.00/head | Condense these (*) into 1 catigory
Sprinkler systems 13D | $75 + $1.00/head | *
Sprinkler modifications | $75 + $1.00/head | *
Fire Alarm System - Mod | $75 + $1.00/device
Hood & Duct Protection Sys | $100/unit
Exit/access control system | 75
Fire Hydrant | 75
Water tanks for fire prot | 150 | Commercial only?
Vehicle access gate | 75 | Drop
Add residential section?
*Exterior flamability inspection
*Mitigation inspections
*Mitigation plans
*Solar
Add permit fees
Add food truck permit fee
Submittal fee subtracted from total fees
No charge for residential site plans (including cisterns), commercial included in new building
Fire protection systems/equipment included in new buildng (except 13D systems)
Miscellanous inspection fee covers any permits requiring inspections